System Segmentation Specification
for
Smart House System

# Scope
This document provides the System Segmentation Specification for modification of the Smart House System. Thus, the system described herein shall be known as the Smart House.
## Identification
The Smart House system described herein shall be identified as version 2.0.0. This system shall serve as a replacement for the current system, which is identified as 1.2.9.
## System Overview
The Smart House system shall serve as a house automation system with user preference and scheduling procedures. This system is designed to make everyday living simpler and more user defined. The quality of life part is one of the four major components of the system and will include a user profiling section, a voice recognition section, a scheduling section and a miscellaneous section.

## Document Overview
This document provides the system subsystem specification (SSS) for the Smart House System. This document format is based upon the format as provided in Reference [OCD]. The system and subsystem performance specification and acceptance criteria are documented following the guidelines of ISO-12207 [1] and MIL-STD-498 [2] (from which ISO-12207 originated). This section provides an overview of the system and this document. Section 2 provides a list of general and application-specific reference documents as well as an acronym list. Section 3 provides the detailed requirements for the system. Section 4 general notes as applicable. Detailed information is provided in appendices as is applicable.
This document follows the format as specified in reference 3. A change in format has been made that allows for the system interfaces to be specified before the system capabilities. The net result of this change is that system capabilities are presented in section 3.3 instead of 3.2 and external system interfaces are described in section 3.2 instead of section 3.3. A second change is that the qualification provisions are listed with each requirement rather in a matrix in Section 4.
The requirements are listed by sub-system. The fully qualified requirement number includes the sub-section in which it is contained. The requirement numbers are tied to the sub-system level thus they are numbered from 1 to N for each sub-section of the requirements section. This is done to allow for additions within a sub-system without affecting other sub-systems. Once a requirement has been active, it cannot be deleted, only its status may be changed to deleted to preserve numbering.

Each requirement is defined in the following format:

Requirement Sub.Section-#: Requirement Name or Title
Synopsis:	Generalized statement of this requirement. This is a simplification of the requirement. The requirement details (and thus the testable items) are provided in the specifics section.
Specifics:	Specialized information regarding this requirement for the specified application. / Parameters that are To Be Determined are listed as __TBD__. / List all “sub-requirements” in lettered list so that their numbers are Rqt 1.2.3.4-1.A, Rqt 1.2.3.4-1.B and so forth
Acceptance:	The criteria that shall be used to determine acceptance of this component. These criteria will be coalesced into an overall ATP to be executed upon delivery and installation of the system. Acceptance of a requirement will be in the form of one of the following methods: / Inspection – the requirement will be accepted based upon results of the inspection and review of the system or documentation / Demonstration – the requirement will be accepted based upon operational demonstration of the capability with no prejudice towards the performance of the capability. / Testing – the requirement will be accepted by running the system to collect data and the resultant analysis of the data to verify the performance. / Analysis – The processing of accumulated data obtained from other qualification methods. Examples are reduction, interpolation, or extrapolation of test results. / Special qualification methods. Any special qualification methods for the system, such as special tools, techniques, procedures, facilities, acceptance limits, use of standard samples, preproduction or periodic production samples, pilot models, or pilot lots.
Status:	Active or In-Active. Active requirements are to be met by the system for the specified use and shall be subject to the acceptance criteria. In-Active requirements shall not be subject to the acceptance criteria. / In-Active requirements are shown in gray regions.
Notes:	These are general notices and issues regarding the component. Notes shall not be considered part of the formal requirements.

# References
This documentation references to the OCD of the Smart House System
## General References
[SSS_DID] DI-IPSC-81431 Data Item Description for System Subsystem Specification (SSS), MIL-STD-498, 05 Dec 1994.
## Specific References
[Federal Standard 1037C] Telecommunications: Glossary of Telecommunication Terms, http://www.its.bldrdoc.gov/fs-1037/fs-1037c.htm, August 7, 1996
## Acronyms and Abbreviations

Table 1: Acronyms and Abbreviations
DID	Data Item Description
OCD	Operational Concept Description
UID	Unique Identifier (for user's profiles)

# Requirements
## Required states and modes
This section lists the states and modes that are provided by the system. States are high-level operation levels such as “boot-up”, “running”, “shutdown”, and maybe “off”. Sub-states list sub-levels for each state as applicable. For example, the “boot-up” state may have sub-states like “power-up”, “reading boot media”, etc. Modes and sub-modes are traditional operational modes within a state. For example, the “running” state may have modes such as “normal”, “maintenance”, “training”, etc.
### System States
#### Boot Up State
Requirement 3.1.1.1.1 : Boot-Up State
Synopsis:	The system shall provide a boot-up state in which the system prepares for operation.
Specifics:	The system shall provide a boot-up state in which the system prepares for operation.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	All of us

#### Shutdown state
Requirement 3.1.1.2.1: Shutdown State
Synopsis:	The system shall provide a shutdown state in which the system ceases operations.
Specifics:	The system shall provide a shutdown state in which the system ceases operations.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	All of us

#### Occupied-State

Requirement 3.1.1.3.1: Occupied-State
Synopsis:	The system shall differentiate between occupied and unoccupied to detect intruders.
Specifics:	The system shall provide a occupied state to identify authorized users.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

#### Unoccupied State

Requirement 3.1.1.4.1 : Unoccupied-State
Synopsis:	The system shall differentiate between occupied and unoccupied to detect intruders.
Specifics:	The system shall provide a unoccupied state to identify unauthorized users.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

### System Modes

#### Normal Mode
Requirement 3.1.2.1.1 : Normal Mode
Synopsis:	The system shall provide a normal mode in which the system operates normally.
Specifics:	The system shall provide a normal mode in which the system operates normally. / The normal mode shall only exist in the occupying state.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	All of us

#### Emergency Mode
Requirement 3.1.2.2.1 : Emergency Mode
Synopsis:	The system shall provide an emergency mode which enables emergency requests priority processing.
Specifics:	The system shall provide an emergency mode enabling priorities for emergency relevant requests. / The emergency mode shall only exist in the occupying state.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	All of us

#### Training Mode
Requirement 3.1.2.3.1 : Training mode
Synopsis:	The system shall provide a training mode that allows for adaptation of the user’s voice characteristics.
Specifics:	The system shall provide a training mode that allows for adaptation of the user’s voice characteristics. / The B. Training mode shall only exist in the occupying state.
Acceptance:	This requirement shall be verified by special qualification methods.
Status:	Active
Notes:	N/A
Source:	All of us

#### Maintenance Mode
Requirement 3.1.2.4.1 Maintenance mode
Synopsis:	The system shall provide a maintenance mode to guarantee an optimum performance of the microphones over time.
Specifics:	The system shall provide a maintenance mode to guarantee an optimum performance of the microphones over time.
Acceptance:	This requirement shall be verified by special qualification methods.
Status:	Active
Notes:	N/A
Source:	All of us

## System external interface requirements

### (Project-unique identifier or interface)
Requirement 3.2.1.1 : Alarm Siren
Synopsis:	The system shall provide an alarm to notify the user when they have scheduled tasks or when to wake up.
Specifics:	The system shall provide an emergency mode in which the system allows emergency vehicles priority passage.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andrew Poirier

Requirement 3.2.1.2 : Light Controllers
Synopsis:	The system shall provide electronic light controllers to turn the lights on or off.
Specifics:	The system shall have electronic light controllers to control the electricity to the lighting devices when requested by the system.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This is used to turn the lights on or off.
Source:	Andrew Poirier

Requirement 3.2.1.3 : Outdoor Light Sensor
Synopsis:	The system shall provide an outdoor light sensor to determine if the sun is our or if it is night time.
Specifics:	A. The system shall provide an outdoor light sensor to determine the amount of light that is outside.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This will be used to let the system know when to turn the “night time mode” lights on or off.
Source:	Andrew Poirier

Requirement 3.2.1.4 : Indoor Temperature Sensor
Synopsis:	The system shall provide an indoor temperature sensor to determine the temperature of the house.
Specifics:	A. The system will have temperature sensors in each room to zone the house properly based on what user is in each room
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	To zone each room based on what user is in it.
Source:	Andrew Poirier

Requirement 3.2.1.5 : Outdoor Temperature Sensor
Synopsis:	The system shall have access to an outdoor temperature sensor to determine maximum efficiency when scheduling the HVAC schedule.
Specifics:	A. The system shall provide a shutdown state in which the system ceases operations.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andrew Poirier

Requirement 3.2.1.6 Voice commands
Synopsis:	The system shall provide a set of applicable commands.
Specifics:	The system’s command types shall be provided in a basic command list / The system shall be able to bind personal expressions to existing actions listed in the command list / The system shall ignore the content after a keyword if the time in between exceeds 3 seconds / The system shall only accept voice commands in the occupying state.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.2.1.7 : Human Sensor Interface
Synopsis:	The system shall have the ability to interface with a sensor to obtain the UID for all occupants of a given room and of the smart house.
Specifics:	The system shall maintain a listing of the active (inside the house) UIDs tied to the room that the user is currently occupying. / The system shall be notified within one second upon UID location changes or exits (leaving the reach of the sensors/system).
Acceptance:	This requirement shall be verified by inspection, testing, and demonstration.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.2.1.8 : Music System Interface
Synopsis:	The system shall have the ability to interface with a music player/system and speakers.
Specifics:	The music player/system shall be capable of selecting music based on genre, artist, album, and track and shall be capable of receiving commands from the Smart House System to select the music by those qualifiers. / The music player/system shall maintain its own database of music. / The music player/system shall be external to and independent developed from the Smart House System. / The system shall interface with the music player to set volume and output the sound to speakers typically used by the voice response system located in each room.
Acceptance:	This requirement shall be verified by inspection, testing, and demonstration.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.2.1.9 : Image Display Interface
Synopsis:	The system shall have the ability to interface with a display screen to display a user's preferred artwork. The idea is for the system to optionally support LED/LCD style “paintings” hanging on the walls in the Smart House.
Specifics:	The system shall be capable of storing artwork images. / The system shall be capable of interfacing with displays supporting 1.6 aspect ratios to send visual data. / The system shall support both portrait and landscape mode for 1.6 aspect ratios. / The system shall be capable of selecting appropriate artwork from storage according to UID and sending the stored artwork to the display. / The system shall have the ability to interface with the display in order to turn it off when a room is vacant.
Acceptance:	This requirement shall be verified by inspection, testing, and demonstration.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

## System capability requirements
### System capability
Requirement 3.3.1.1 :Syntax
Synopsis:	The system shall provide a pre-defined syntax to the user for communication.
Specifics:	The system’s syntax for a voice command shall have two components KEYWORD + CONTENT.
Acceptance:	This requirement shall be verified by demonstration.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.3.1.2 Loudness
Synopsis:	The system shall detect moderate voice level and emergency voice level of the user.
Specifics:	The system’s general detection level s range from 0 dB to 130 dB. / The system shall identify moderate communication for voice ranges from 20 dB to 80 dB. / The system shall identify emergency communication for voice ranges from 80 dB to 130 dB.
Acceptance:	This requirement shall be verified by demonstration.
Status:	Active
Notes:	0 dB to 130 dB. (from the threshold of excellent youthful hearing to the threshold of pain and immediate ear damage) / 20 dB to 80 dB. ( from to awaken a sleeping person, normal office noise, quiet stream, conversational speech to car horn at 5 meters) / 80 dB to 130 dB. (from noisy office, electric shaver, alarm clock, police whistle to the threshold of pain and immediate ear damage)
Source:	Andre Zierfuss

Requirement 3.3.1.3 Softness
Synopsis:	The system shall provide a minimum voice level for command acceptance.
Specifics:	The system’s minimum voice level accepted for voice commands is 20 dB.
Acceptance:	This requirement shall be verified by demonstration.
Status:	Active
Notes:	20 dB (whisper, empty theater, ticking of watch)
Source:	Andre Zierfuss

Requirement 3.3.1.4 Languages
Synopsis:	The system shall accept English, German, French, and Spanish for voice commands.
Specifics:	The system shall accept English, German, French, and Spanish for voice commands.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.3.1.6 : User Data Storage
Synopsis:	The system shall have have the ability to store personalized data for each user of the system.
Specifics:	The system shall provide unique identifiers (UIDs) tied to profile storage for each user. / The system shall provide a default profile for new or unrecognized users that shall also be tied to a single unique identifier (UID). / The system shall support no less than 256 major profile settings / The system shall allow voice access to change all profile settings for a UID by the user tied to that UID within reason unless otherwise specified below. / The system shall allow voice access to change all profile settings for any UID with lower privileges less than a user issuing the voice command.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.3.1.7 : Contact/Personal Information Profile Settings
Synopsis:	The system shall have the ability to store personal information on each user as described below.
Specifics:	The system shall tie the contact/personal information to the UID for each user and store the data in the profile settings. / The system shall have the capability to store a user's name, age, birth date, address, phone numbers, and photograph. / The system shall store an associated room (if one exists) with a UID to indicate that the room is “theirs” and that their preferences have precedence within said room. / The system shall have the capability to store a user's contacts with the associated data including name, age, birth date, address, phone numbers, and photograph.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.3.1.8 : Privilege Profile Settings
Synopsis:	The system shall have the ability to store privilege settings for each UID.
Specifics:	The system shall store data on user privileges for each UID. / The system shall provide a default UID privilege level. / The system shall, at all times after set-up, have a UID with the highest level privileges. / The system shall allow only users to increase the privilege level of another UID only up to one level below the initial users privilege level. / The system shall make an exception to C. in the event that the user initiating the privilege change has the highest level privileges (owner). / Where preferences conflict, unless otherwise stated, the UID with the highest privilege level takes precedence.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.3.1.9 : Music Profile Settings
Synopsis:	The system shall have the ability to store music preferences for each user.
Specifics:	The system shall tie the music preferences to the UID for each user and store the data in the profile settings. / The system shall support music preferences by genre, artist, albums, and tracks. / The system shall be capable of setting volume levels on the music. / The system shall maintain a preferred volume setting for the music. / If the house is vacant all music will be put on pause. Upon re-entry, the music will begin to play again with the volume at a reasonable level (50 db).
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.3.1.10 : Art Profile Settings
Synopsis:	The system shall have the ability to store art preferences for each user.
Specifics:	The system shall tie the art preferences to the UID for each user and store the data in the profile settings. / The system shall support art preferences by artist and artwork. / The system shall store only artwork data that is two dimensional in nature (paintings, frescoes, watercolors, etc.) / When no artwork is found associated with a UID the system shall display the artwork tied to the owner's UID. / The system shall not attempt to display anything when a room is vacant.
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.3.1.11 : Voice Pattern Storage and Recognition
Synopsis:	The system shall have the ability to store a user's voice pattern information associated with a UID and to recognize a user's voice pattern.
Specifics:	The system shall be capable of storing voice patterns with the associated UID. / The system shall take no longer than 10 minutes of training to learn a user's voice pattern. / The system shall have the ability to match a user's speech in real time with the UID that has the matching voice pattern during normal operation. / The system shall use the evaluated UID during the issuing of voice commands to make relevant decisions (ex. “play music” would play the music associated the the UID of the recognized user).
Acceptance:	This requirement shall be verified by inspection, testing, and demonstration.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

## System internal interface requirements

This system.... (this is the P-SPEC, process specification).
[diagram here]
Figure 1: DFD-O
### System State Diagram
### Brain
### Environmental

### Inventory
### Quality of Life

This process is the one for the Quality of Life segment for the system.

Figure 2: DFD-3.4.5
#### STD for QOL

#### Voice

##### STD for Voice

#### Scheduling
This is the process for the scheduling segment for the quality of life

Figure 3: DFD-3.4.5.3
##### STD for Scheduling
##### HVAC

Figure 4: DFD-3.4.5.3.2
###### STD for HVAC
This is the state diagram for the HVAC controller. It starts off in a state waiting for the signal to turn the a/c or heat on or off.
Figure 5: STD-3.4.5.3.2.1
###### Boiler
The boiler will wait for a command from the HVAC controller to turn on or off.
###### AC Unit
The A/C will wait for a command from the HVAC controller to turn on or off.

##### Light Controller

Figure 6: DFD-3.4.5.3.3
###### STD for light controller
Call for outside lights
call for inside lights
###### Inside Lights
Paragraph for inside lights
###### Outside Lights
Paragraph for outside lights

##### STD for Time

Figure 7: DFD-3.4.5.3.2.1

#### Profile

### Security

### Detector Data

### Utility Manager

## System internal data requirements

Requirement 3.5.1 : Vacation Schedule Database
Synopsis:	The system shall provide a database for all the users to determine if they are on vacation or not.
Specifics:	A. The system shall provide a database of when the home users are on vacation or if they are working.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This is used to determine if there people in the house or on vacation
Source:	Andrew Poirier

Requirement 3.5.2 : Work Schedule Database
Synopsis:	The system shall provide a a database for the different work schedules of all of the home users
Specifics:	A. The system shall provide a database for each user of the home to determine the “away” and “home” schedules of each user.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This schedule will be used to determine if there is people in the house or not.
Source:	Andrew Poirier

## Adaptation requirements

Requirement 3.6.1 : Day Light Savings Time
Synopsis:	The system shall provide the correct time of day for the scheduling
Specifics:	A. The system should work off of the correct time zone that it is
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This is used to turn the lights on or off.
Source:	Andrew Poirier

Requirement 3.6.2 : Light Controllers
Synopsis:	The system shall provide electronic light controllers to turn the lights on or off.
Specifics:	A. The system shall have electronic light controllers to control the electricity to the lighting devices when requested by the system.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This is used to turn the lights on or off.
Source:	Andrew Poirier

Requirement 3.6.3 : Age Groups
Synopsis:	The system shall provide adaptation for different aged users
Specifics:	The System will have a group for adults / The system will have a group for children.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	This is used to change the interfaces and spelling level of the users in the house
Source:	Andrew Poirier

Requirement 3.6.4 : Background noise
Synopsis:	The system shall be able to filter out background noises from users’ commands.
Specifics:	The system shall be able to distinguish between background noises and user commands through filtering. / The system training shall be feasible from 0-130dB of background noise. / The system interactions shall be feasible from 0-130 dB
Acceptance:	This requirement shall be verified by testing.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## Safety requirements

Requirement 3.7.1 : Password Encryption
Synopsis:	The system shall be secured with password authentication
Specifics:	All of the system data will be password protected to provide security of all commands and databases.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	Andrew Poirier

Requirement 3.7.2 : UL
Synopsis:	The system shall comply with all UL requirements.
Specifics:	The system will comply with all UL requirements so the users do not get electrocuted by our devices
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	Andrew Poirier

Requirement 3.7.3 : Emergency requests
Synopsis:	The system shall provide priorities for emergency relevant requests.
Specifics:	A. The system shall provide priorities to emergency requests while in emergency mode. / B. The system shall switch to emergency mode on received emergency requests initiated by keywords defined by the user.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source	Andre Zierfuss

## System environment requirement
Requirement 3.8.1 : Intruder detection
Synopsis:	The system shall differentiate between occupied and unoccupied to detect intruders.
Specifics:	The system shall not provide guidance within the unoccupied-state / The system shall apply the unoccupied-state to users with an unauthorized profile
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.8.2 : Environment Temperature
Synopsis:	The System shall work under normal conditions through out different countries
Specifics:	A. The system will work in zones like Antarctica with really cold temperatures / B. The system will work in zones like Texas with really hot temperatures.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andrew Poirier

## Computer resource requirements

### Software Environment
Requirement 3.9.1.1 : Software environment
Synopsis:	The system shall operate on standard operating systems designed for multi processing.
Specifics:	The system shall operate on standard operating systems designed for multi processing.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

### Hardware Environment

Requirement 3.9.2.1 : Hardware environment
Synopsis:	The system shall operate on a parallel processing unit for an optimum support of parallel processing.
Specifics:	The system shall operate on a parallel processing unit for an optimum support of parallel processing.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

### Natural Environment

Requirement 3.9.3 : Natural environment
Synopsis:	The system shall operate under every possible weather condition.
Specifics:	The system shall operate on a multi-core processing unit for an optimum support of parallel processing.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

### Computer software requirements

Requirement 3.9.4 : Induced environment
Synopsis:	The system shall operate under every electromagnetic influence.
Specifics:	The system shall operate under the influence of noise and electromagnetic radiations.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## System quality factors

Requirement 3.10.1 : Voice processing units
Synopsis:	The system shall provide voice processing units for every available room.
Specifics:	The system shall provide voice processing units for every available room.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.10.2 : Voice interpretation units
Synopsis:	The system shall provide command interpreting units for every voice processing unit.
Specifics:	The system shall provide command interpreting units for every voice processing unit.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

#### Computer Hardware Requirements
Requirement 3.10.1.1.1 : Storage Requirements
Synopsis:	The system shall include no less than 100 GB to store profile settings and other associated data, and the data shall be quickly accessible.
Specifics:	The system shall use SSD(s) with SATA 6.0Gb/s for main storage and access of the profile settings and other associated data. / The system shall have two backup SSDs that will each store a backup copy of the data on the main SSD.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.10.1.1.2 : Memory Requirements
Synopsis:	The system shall include no less than 16 GB of DDR3 1600MHz RAM.
Specifics:	The system shall use quad-channel ram of 4x4GB sticks minimum.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

### Computer Hardware Resources Utilization
Requirement 3.10.2.1 : Internal memory
Synopsis:	The system shall provide sufficient internal memory for frequent voice processing.
Specifics:	The system shall provide sufficient internal memory for frequent voice processing.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

### Computer communications requirements
Requirement 3.10.3.1 : Training software
Synopsis:	The system shall provide training software capturing the user’s voice characteristics for an optimized communication.
Specifics:	The system shall provide training software capturing the user’s voice characteristics for an optimized communication. / Launching the training software enables the training mode.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.10.3.2 : Voice data rates
Synopsis:	The system shall provide sufficient data rate that allows for an optimal communication flow.
Specifics:	The system shall provide sufficient data rate that allows for an optimal communication flow.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## System Quality Factors
Requirement 3.11.1 : Re-usability
Synopsis:	The system shall provide sufficient processing unit that can instantly distinguish different language characteristics.
Specifics:	The system shall provide a sufficient processing unit that can instantly distinguish different language characteristics.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## Design and Construction Constraints

Requirement 3.12.1 : Material constraints
Synopsis:	The system shall only cause electromagnetic radiations that are not harmful for people's health.
Specifics:	The system shall only cause electromagnetic radiations that are not harmful for people's health. / The system shall not cause any electromagnetic radiation hazards.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	Electromagnetic radiation hazards according to the definitions a)-c) from the Federal Standard 1037C
Source:	Andre Zierfuss

Requirement 3.12.2 : Profile/Settings Storage
Synopsis:	The system shall store the data for the profile and settings using SQL.
Specifics:	The system shall use SQL for all data basing needs.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

Requirement 3.12.3 : Programming Language
Synopsis:	The system shall be programmed in C++.
Specifics:	The system shall be programmed in C++. / Additional script files may be used, but the core of the running system shall be written in C++. / Additional script files, if they are to be a standard scripting language, shall be written in Python.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

## Personal-Related Requirements

Requirement 3.13.1 : Online support chat
Synopsis:	The system shall provide an online support chat in case user needs immediate guidance.
Specifics:	The system shall provide an online support chat in case user needs immediate guidance.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.13.2 : Manual Specification
Synopsis:	The system shall include a manual written for the user.
Specifics:	The manual shall be written in the languages of English, French, German, and Spanish. / The manual shall include documentation on every system capability and system interface. / The manual shall be written in such a manner that no special knowledge of the system is necessary to understand it.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Tyler Kopf

## Training-Related Requirements

Requirement 3.14.1 : Training
Synopsis:	The system shall require no more than 10 minutes of training to use.
Specifics:	The system shall require no more than 10 minutes of training to use. / The system shall require less than 10 minutes to be trained to the user's voice.
Acceptance:	This requirement shall be verified by special qualification methods.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## Logistics-related Requirements

Requirement 3.15.1 : Software Updates
Synopsis:	The software shall be updated through a CD update
Specifics:	The software for this system will be updated from a CD that is mailed. / The CD shall fit in a standard sized envelope.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andrew Poirier

Requirement 3.15.2: Microphone maintenance
Synopsis:	The system requires maintenance work in case the performance of a microphone deteriorates over time.
Specifics:	If the performance of a microphone deteriorates over time, it will be necessary to have the diaphragm cleaned.
Acceptance:	This requirement shall be verified by special qualification methods.
Status:	Active
Notes:	The user will need to talk to the supplier or manufacturer for details.
Source:	Andre Zierfuss

## Other requirements

Requirement 3.16.1 : Digital user manual
Synopsis:	The system shall provide a digital user manual.
Specifics:	The system shall provide a digital user manual.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

## Packaging Requirements

Requirement 3.17.1 : Voice command package
Synopsis:	The system’s voice processing package comprises of two main components, the voice processing unit and a respective voice interpreting unit.
Specifics:	The system’s voice processing package comprises of two main components, the voice processing unit and a respective voice interpreting unit.
Acceptance:	This requirement shall be verified by inspection.
Status:	Active
Notes:	N/A
Source:	Andre Zierfuss

Requirement 3.17.2: Packaging Material
Synopsis:	The system shall be packaged in a water tight enevelope.
Specifics:	A. The system software will be packaged in a water tight enevlope to ensure no damage when being shipped
Acceptance:	This requirement shall be verified by special qualification methods.
Status:	Active
Notes:	Water = bad
Source:	Andrew Poirier

## Precedence and Criticality of Requirements
The fulfillment of the requirements listed in this section is crucial for the functioning of the system.

# Qualification Provisions

# Requirements traceability

# Notes